| # WOOD/COAL BURNING STOVE SUPPLEMENTAL INSPECTION FORM |  |  |  | Insured’s Name |  |  |  |  |  |  |  |  |  |  |  |  | Policy No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Stove/Furnace Unit | Type | Open Hearth (No doors) |  | Pot Belly, Box or Franklin (Loose fitting doors) |  |  |  |  |  |  |  |  |  | Airtight (Tight-fitting, draft-limiting doors and seams) |  |  |  |
|  | Construction | Sheet Metal |  | Cast Iron |  |  |  |  |  | Brick Lined |  |  | Any Cracks or Broken Parts? Yes No |  |  |  |  |
|  | Fuel | Wood | Coal |  |  |  |  |  |  | Other (specify): |  |  |  |  |  |  |  |
|  | Principal Use | Primary Heat Source (More than 50 days/yr.) |  |  |  |  |  | Supplemental Heating (Less than 50 days/yr.) |  |  |  |  |  |  | Cooking |  |  |
|  | Installed By | Owner |  |  | Contractor |  |  |  |  |  | Month/Year of Installation |  |  |  |  |  |  |
|  | Inspected By | Building Inspector |  |  |  | Fire Department |  |  |  |  |  | Other (specify): |  |  |  |  |  |
| Chimney/Chimney Connector (Stove Pipe) | Installation | Stove placed at least 36” from combustible well or furnishings, or 18” from non-combustible shield with 1” air space to combustible wall. |  |  |  |  |  | Non-combustible pad or surface below stove, extends at least 18” beyond loading door and 12” beyond side and rear. |  |  |  |  |  |  | Stove legs allow at least 4” air space below stove. |  |  |
|  |  | Yes No |  |  |  |  |  | Yes No |  |  |  |  |  |  | Yes No |  |  |
|  | Type | Masonry |  |  |  |  | U.L. Listed Metal Chimney |  |  |  |  |  |  |  |  |  |  |
|  | Cleaned/ Inspected | When last cleaned (Mo./Yr.) |  |  |  |  |  |  | Last inspected (Mo./Yr.) |  |  |  |  |  |  | Are ashes disposed of in a fireproof container? Yes No |  |
|  | Installation | Passes through non-combustible thimble collar or opening which is at least 12” larger in diameter than stove pipe: |  |  |  |  |  |  | Connector to chimney under 10’ in length: |  |  |  |  |  | Galvanized steel pipe: |  |  |
|  |  | Yes No |  |  |  |  |  |  | Yes No |  |  |  |  |  | Yes No |  |  |
|  |  | More than two bonds: |  |  |  |  |  |  | Horizontal portion rises at least ¼” per linear ft. of pipe length so chimney connection point is higher than stove end: |  |  |  |  |  | Pipe sections overlap to contain creosote flowback: |  |  |
|  |  | Yes No |  |  |  |  |  |  | Yes No |  |  |  |  |  | Yes No |  |  |
| Recomm- dations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |